{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":256,"n_cols":10,"rows_kept":256,"merged":[[0,0,0,1],[1,0,1,9]],"flags":["formulas_cached_only"]}
["附件3："]
["2010年陶瓷片密封水嘴产品质量国家监督专项抽查产品及其企业名单"]
["序号","企业名称","所在地","产品详细名称","商标","规格型号","生产日期   （批号）","抽查结果","主要不合格项目","承检机构"]
[1,"北京市科实五金有限责任公司","北京","节水龙头","菱形牌","P0111","2010-03-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[2,"北京科勒有限公司","北京","依欧亚单孔厨房龙头","科勒","8623T－CP","2010-04-14","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[3,"北京科勒有限公司","北京","卡比奥单孔脸盆龙头","科勒","8600T-1-CP","2010-03-18","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[4,"博洛尼家居用品（北京）有限公司","北京","单把面盆龙头","Boloni","B0107","2009-11-04","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[5,"河北润旺达洁具制造有限公司","河北","单柄面盆龙头","武洁","0102","2009-05-18","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[6,"河北润旺达洁具制造有限公司","河北","单控脚踏淋浴器","武洁","WJ0154","2010-02-08","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[7,"唐山惠达（集团）洁具有限公司","河北","面盆水龙头","惠达","HDAO 192M","2010-04-11","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[8,"唐山惠达（集团）洁具有限公司","河北","单孔面盆龙头","杜菲尼","DLT11006","2010-01-16","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[9,"东陶（大连）有限公司","辽宁","台式单柄冷热水混合水栓(含排水配件、洗面器用)","TOTO","DL321","2010-04-10","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[10,"东陶（大连）有限公司","辽宁","壁式单柄冷热水混合水栓(三功能淋浴、浴盆用)","TOTO","DM312ACMF","2010-03-26","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[11,"上海劳达斯洁具有限公司","上海","面盆龙头","RODDEX","RDX7000-C","2010-04-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[12,"上海劳达斯洁具有限公司","上海","浴缸龙头","RODDEX","RDX9000-C","2010-04-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[13,"上海诚诺兄弟实业有限公司","上海","直角水槽铜水嘴","吉帝牌","JD-1211","2010-04-14","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[14,"上海瑞宾水暖泵阀器材制造有限公司","上海","洗衣机龙头","瑞宾","KL1005CP","2010-04-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[15,"上海龙尔卫浴洁具有限公司","上海","单把单孔脸盆混合水龙头","LONGER","LE-9505","2009-08-28","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[16,"贝朗（上海）卫浴设备有限公司","上海","面盆龙头","BRAVAT","F16061C","2010-02-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[17,"上海市外冈水暖器材厂","上海","铜单把面盆双联水嘴","外冈牌","DSM152013B","2009-12-21","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[18,"汉斯格雅卫浴产品（上海）有限公司","上海","14010000","hansgrohe","14010000","2010-04-08","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[19,"汉斯格雅卫浴产品（上海）有限公司","上海","14410000","hansgrohe","14410000","2010-04-08","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[20,"上海绿太阳建筑五金有限公司","上海","单柄双联面盆龙头","绿太阳","DS21805型","2010-03-25","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[21,"上海宝杨水暖洁具有限公司","上海","面盆双联龙头","日新","B510","2010-01-17","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[22,"上海宝路卫浴陶瓷有限公司","上海","单孔单把面盆龙头","bolo","BS-1131","2009-07-15","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[23,"苏州伊奈卫生洁具有限公司                 ","江苏","单手柄浴室用冷热水混合 水龙头","INAX                ","BFC201S-1C                                                  ","2010-02-06","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[24,"樱花卫厨(中国)股份有限公司                          ","江苏","4\"单把脸盆龙头","SAKURA              ","HB3452-11                                                   ","2010-04-14                                                  ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[25,"乐家洁具(苏州)有限公司                           ","江苏","面盆龙头","ROCA                ","维多利亚N                                                   ","2010-04-19","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[26,"乐家洁具(苏州)有限公司                              ","江苏","面盆龙头","ROCA                ","艾玛                                                        ","2010-04-19","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[27,"和成(中国)有限公司                                ","江苏","沐浴用挂墙式单把手龙头","HCG                 ","BF3750                                                      ","2010-03-09","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[28,"和成(中国)有限公司                                   ","江苏","脸盆用单把手单孔龙头","HCG                 ","LF3103MN                                                    ","2010-01-23","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[29,"台州丰华铜业有限公司","浙江","单把单孔脸盆龙头","Fenghwa","FH8227-D37","2010-03-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[30,"台州丰华铜业有限公司","浙江","单把浴缸龙头","Fenghwa","FH8108-D11","2010-03-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[31,"台州博丽雅洁具有限公司","浙江","单把面盆龙头","BORER","BLY-11120","2010-02-26","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[32,"菲时特集团股份有限公司","浙江","厨房菜盆龙头","FANSKI","AC102","2009-09-28","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[33,"中捷厨卫股份有限公司","浙江","面盆龙头","桑耐丽",10111,"2009-11-20","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[34,"中捷厨卫股份有限公司","浙江","淋浴龙头","桑耐丽","30175-A","2010-01-04","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[35,"浙江志高洁具有限公司","浙江","面盆龙头","NUMBER7",1001,"2010-02-22","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[36,"玉环县维强洁具厂","浙江","单把厨房龙头","/","WQ-1102","2010-03-24","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[37,"台州金源铜业制品有限公司","浙江","单把淋浴龙头","汉格","JY31102","/","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[38,"浙江永德信铜业有限公司","浙江","三联淋浴龙头","CREDIT","YDX-3013","2010-03-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[39,"浙江安玛洁具有限公司","浙江","陶瓷片加长快开水龙头","安玛","AM81026-00","2010-03-27","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[40,"台州嘉德利卫浴有限公司","浙江","单把单孔脸盆龙头","Catly","JDL8801000","2010-03-25","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[41,"台州苏尔达水暖有限公司","浙江","苏尔达水龙头","苏尔达","SD92607","2010-03-05","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[42,"浙江康意洁具有限公司","浙江","单柄面盆龙头","vsa维莎","ART3201","2010-03-25","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[43,"浙江康意洁具有限公司","浙江","单柄面盆龙头","vsa维莎","ART9201","2010-03-25","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[44,"浙江利尼斯洁具有限公司","浙江","单把浴缸龙头","LINISI","F8018-308-A01","2010-03-10","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[45,"温州市力士洁具有限公司","浙江","单把面盆龙头","力士","LI892","2010-03-26","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[46,"浙江申红达卫浴有限公司","浙江","单孔面盆龙头","SHD","SH-1715","2010-03-26","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[47,"温州市意利洁具有限公司","浙江","单孔面盆水龙头","意鸟","6026-F","2010-03-29","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[48,"浙江凯泰洁具有限公司","浙江","单把单孔面盆龙头","凯泰",2117,"2010-03-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[49,"温州四维卫浴有限公司","浙江","单把单孔面盆水龙头","sway","SW7759","2010-03-28","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[50,"温州市美亚水阀厂","浙江","面盆龙头","美亚","3588-2","2010-03-28","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[51,"温州鸿升集团有限公司","浙江","单孔单把菜盆龙头","RODDEX","HS3000-C","2010-03-30","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[52,"温州鸿升集团有限公司","浙江","单孔单把面盆龙头","RODDEX","HS7161-C","2010-03-30","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[53,"浙江中克家居用品有限公司","浙江","面盆龙头","中克","2401","2009-09-14","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[54,"温州市苹果洁具有限公司","浙江","双孔面盆龙头","苹果卫浴","1602","2010-03-25","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[55,"温州市康霸洁具有限公司","浙江","陶瓷片密封水嘴","KBKB","KB-6648E","2010-04-02","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[56,"瑞安市贝乐卫浴洁具有限公司","浙江","陶瓷片密封水嘴","贝乐","6008-01","2010-04-03","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[57,"宁波欧琳实业有限公司","浙江","厨房龙头 ","OULIN","OL-8006","2009-10-20","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[58,"瑞安市丽丹达五金洁具有限公司","浙江","陶瓷片密封水嘴","丽丹达","15501","2010-04-01","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[59,"浙江华朗洁具有限公司","浙江","单把面盆龙头","VOLONG","VL","2010-04-02","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[60,"瑞安市欧赫卫浴有限公司","浙江","陶瓷片密封水嘴","QUTON","/","/","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[61,"温州意得利洁具有限公司","浙江","单把单孔脸盆龙头","意得利","YDL1500348C","2010-03-31","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[62,"宁波埃美柯铜阀门有限公司","浙江","浴盆水嘴","AMICO","YG78","2010-03-31","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[63,"宁波埃美柯铜阀门有限公司","浙江","面盆水嘴","AMICO","MD78","2010-01-30","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[64,"宁波奥雷士洁具有限公司","浙江","陶瓷片密封水嘴","奥雷士","9112","2010-02-27","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[65,"宁波奥雷士洁具有限公司","浙江","陶瓷片密封水嘴","奥雷士","1903","2010-02-27","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[66,"宁波杰克龙阀门有限公司","浙江","面盆龙头","杰克龙","4751","2010-01-14","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[67,"杭州汇家卫浴用品有限公司","浙江","单把面盆龙头","百德嘉","H210015","2010-04-07","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[68,"浙江雅鼎卫浴股份有限公司","浙江","单孔单把面盆龙头","雅鼎","8003001","2010-03-06","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[69,"浙江霹雳马厨卫设备有限公司","浙江","面盆龙头","霹雳马","WM2B","2010-04-08","合格",null,"国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[70,"九牧集团有限公司                                    ","福建","单把双孔面盆龙头","JOMOO 九牧          ","3246-022                                                    ","2010-03-10","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[71,"九牧集团有限公司                                   ","福建","单把软管式淋浴器","JOMOO 九牧          ","3507-256                                                    ","2010-01-16","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[72,"辉煌水暖集团有限公司                                ","福建","单柄双控面盆水嘴","HHSN 辉煌           ","HH-12101-SL216                                              ","2009-12                                                     ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[73,"辉煌水暖集团有限公司                             ","福建","单柄双控洗涤盆水嘴","HHSN 辉煌           ","HH-12519-SL222                                              ","2009-10                                                     ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[74,"福建申利卡洁具发展有限公司","福建","陶瓷片密封水嘴                                                                  ","SLK 申利卡          ","2004                                                        ","2010-03                                                     ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[75,"福建申旺集成卫浴有限公司                ","福建","单把淋浴龙头","申旺                ","SW82026                                                     ","2009-10-10","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[76,"泉州市吉利来实业有限责任公司                       ","福建","精密瓷芯龙头","吉思达              ","JSD-9953C                                                   ","2010-03-20","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[77,"福建省南安市龙塔卫浴有限公司                        ","福建","陶瓷片密封水嘴                                                                  ","龙塔                ","2201                                                        ","2010-03-24","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[78,"福建省南安市水中王洁具制造厂                         ","福建","陶瓷片密封水嘴                                                                  ","水中王              ","SZW-9222                                                    ","2010-03-24","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[79,"南安市仑苍牧城水暖卫浴洁具厂                       ","福建","陶瓷片密封水嘴                                                                  ","牧城                ","9141                                                        ","2010-03-01","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[80,"福建元谷卫浴有限公司                                ","福建","陶瓷片密封水嘴                                                                  ","LOGOO               ","LG053104                                                    ","2009-08-08","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[81,"南安市仑苍洁而美洁具厂                          ","福建","陶瓷片密封水嘴                                                                  ","洁而美              ","/                                                           ","2010-03-25","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[82,"南安市红金龙洁具厂                             ","福建","陶瓷片密封水嘴                                                                  ","金佲士              ","/                                                           ","2010-03","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[83,"福建省南安市科洁电子感应设备有限公司                ","福建","陶瓷片密封水嘴                                                                  ","科洁                ","9003                                                        ","2010-03                                                     ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[84,"福建广亚卫浴有限公司                              ","福建","瓷芯水咀","Guangya 广亚        ","GY017                                                       ","2010-03-25","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[85,"中宇建材集团有限公司                              ","福建","单孔单把厨房龙头","JOYOU 中宇          ","JY00165                                                     ","2009-12","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[86,"中宇建材集团有限公司                          ","福建","单孔单把脸盆龙头","JOYOU 中宇          ","JY00191                                                     ","2010-02                                                     ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[87,"南安市双维水暖器材厂                           ","福建","快开水咀","SUNWEAL             ","6098-061B                                                   ","2010-03-25","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[88,"南安市精工水暖器材厂                               ","福建","陶瓷片密封水嘴                                                                  ","宗城                ","ZC-1328                                                     ","2010-03-01","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[89,"福建省南安市新辉水暖洁具有限公司               ","福建","陶瓷片密封水嘴                                                                  ","腾辉                ","TH-1504                                                     ","2010-03-15","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[90,"福建省南安市黎通洁具有限公司                     ","福建","陶瓷片密封水嘴                                                                  ","LITO 蓝通王         ","8662                                                        ","2010-03-27","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[91,"泉州市三晓洁具有限公司                          ","福建","陶瓷片密封水嘴                                                                  ","Sanhill 三晓        ","S937                                                        ","2010-03-21","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[92,"南安市九头鸟卫浴洁具有限公司                    ","福建","平口水咀","九头鸟              ","WR-209 DN15                                                 ","2010-02-10","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[93,"南安市美林广南水暖器材厂                     ","福建","中型接管快开","百鹭                ","/                                                           ","2010-03-28","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[94,"南安市龙达水暖洁具厂                          ","福建","陶瓷片密封水嘴                                                                  ","SHIJIU 实久         ","/                                                           ","2010-03-28","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[95,"福建福泉集团有限公司                           ","福建","单把脸盆龙头","宏浪洁具 hona       ","FQ-11044                                                    ","2010-03-17","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[96,"泉州市金光阀门制造有限公司               ","福建","陶瓷片密封水嘴                                                                  ","JIN GUANG           ","JG                                                          ","2010-03-21","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[97,"福建省南安市春城水暖器材厂","福建","陶瓷片密封水嘴                                                                  ","春洪                ","DN15-DN20                                                   ","2010-03                                                   ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[98,"福建省特瓷卫浴实业有限公司 ","福建","快开龙头","TECI                ","8802-319                                                    ","2010-01                                                   ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[99,"泉州市海鹰实业有限责任公司","福建","陶瓷片密封水嘴                                                                  ","XOYOO               ","XOYOO-51271-(DN20)                                          ","2010-03                                                   ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[100,"泉州市兴达轻工（集团）有限公司","福建","陶瓷片密封水嘴                                                                  ","JOXOD               ","JXD-2251-037                                                ","2009-10-05","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[101,"福建省申雷达卫浴洁具有限公司","福建","陶瓷片密封水嘴                                                                  ","sləder         ","1102                                                        ","2010-01-26","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[102,"泉州市申泉水暖设备有限公司            ","福建","陶瓷片密封水嘴                                                                  ","SHENQUAN 申泉       ","/                                                           ","2010-02                                                   ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[103,"泉州奥美斯洁具发展有限公司","福建","陶瓷片密封水嘴                                                                  ","Omis                ","2001-045                                                    ","2010-03-21","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[104,"福建省南安市新华水暖建材厂","福建","陶瓷片密封水嘴                                                                  ","JSZZ 洁水王子       ","JSWZ                                                        ","2009-10                                                  ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[105,"泉州市港艺水暖器材有限公司","福建","陶瓷片密封水嘴                                                                  ","GANGYI              ","/                                                           ","2010-03-04","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[106,"南安市申宇霸卫浴洁具制造厂","福建","新秀龙头","申宇达              ","8946                                                        ","2010-03-25","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[107,"泉州丽弛科技有限公司                 ","福建","接管快开龙头","丽弛卫浴            ","/                                                           ","2010-03-21","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[108,"泉州仁和轻工有限公司               ","福建","豪华型快开龙头","JOYDA 江利达        ","8719                                                        ","2010-03-21","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[109,"福建省南安市爱浪水暖有限公司","福建","无字拔中长带网水咀","AILANG 爱浪         ","AL62014                                                     ","2010-03-25","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[110,"南安市旭山五金洁具有限公司","福建","陶瓷片密封水嘴                                                                  ","旭山                ","6012                                                        ","2010-03                                                   ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[111,"福建南安市恒通卫浴有限公司","福建","快开洗衣机龙头","HTOSN               ","HT-9701                                                     ","2010-03-20","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[112,"福建夏龙卫浴有限公司      ","福建","陶瓷片密封水嘴                                                                  ","XOLOO 夏龙卫浴      ","XL5065                                                      ","2010-03-15","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[113,"福建省南安市鹭达水暖阀门厂  ","福建","陶瓷片密封水嘴                                                                  ","颖川                ","15                                                          ","2010-03-18","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[114,"申鹭达股份有限公司                 ","福建","陶瓷片密封水嘴                                                                  ","SUNLOT              ","LD-12121                                                    ","2010-03-19","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[115,"申鹭达股份有限公司                ","福建","陶瓷片密封水嘴                                                                  ","SUNLOT              ","LD13350                                                     ","2010-03-19","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[116,"特陶科技发展有限公司             ","福建","陶瓷片密封水嘴                                                                  ","特陶 TETAO          ","TT22106                                                     ","2010-03-26","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[117,"特陶科技发展有限公司            ","福建","陶瓷片密封水嘴                                                                  ","特陶 TETAO          ","TT22725                                                     ","2010-03-26","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[118,"泉州市新一代洁具管业有限公司     ","福建","单冷陶瓷片密封水龙头","新一代洁具          ","XYD：61900                                                  ","2010-01                                                   ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[119,"福建省南安市居兴水暖设备厂           ","福建","陶瓷片密封水嘴                                                                  ","金仕顿              ","JSD                                                         ","2010-03-24","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[120,"泉州市南荣水暖洁具有限公司           ","福建","陶瓷片密封水嘴                                                                  ","奥驰                ","2002                                                        ","2010-03                                                   ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[121,"泉州日月伦卫浴洁具有限公司","福建","陶瓷片密封水嘴                                                                  ","HOYIS 沪伊斯卫浴    ","HYS-15                                                      ","2010-03-22","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[122,"南安市滨富水暖洁具有限公司       ","福建","陶瓷片密封水嘴                                                                  ","四季红              ","5836                                                        ","2010-03-27","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[123,"南安市南源水暖洁具厂         ","福建","精品小龙头","SHENNISI 申尼斯     ","3017B-2                                                     ","2010-03-29","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[124,"福建南安市海景卫浴有限公司     ","福建","中长快开水龙头","海景                ","HJ-5093                                                     ","2010-03-15","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[125,"中科和成有限公司       ","福建","面盆龙头","HCCP                ","A8601                                                       ","2010-03-05","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[126,"中科和成有限公司               ","福建","水槽龙头","HCCP                ","A8412                                                       ","2010-03-22","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[127,"安溪县雅豪水暖洁具厂              ","福建","陶瓷片密封水嘴                                                                  ","e-hoo               ","DN15                                                        ","2010-03","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[128,"福建省安溪县金三环水暖洁具厂      ","福建","陶瓷片密封水嘴                                                                  ","拼牌                ","3303                                                        ","2010-02                                                     ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[129,"福建省安溪春泉水暖有限公司","福建","陶瓷片密封水嘴                                                                  ","艺田                ","DN15                                                        ","2010-03-31","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[130,"安溪县城厢雅仕水暖厂","福建","陶瓷片密封水嘴                                                                  ","路路发              ","LLF-6102                                                    ","2010-03-28","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[131,"安溪县城关豪都水暖器材厂","福建","陶瓷片密封水嘴                                                                  ","ROROGO              ","1241                                                        ","2010-03                                                     ","合格",null,"国家排灌及节水设备产品质量监督检验中心"]
[132,"福州东南水暖器材有限公司","福建","陶瓷片密封水嘴","思雅特","DN15 T1041型","2010-03-05","合格",null,"福建省中心检验所"]
[133,"厦门人水卫浴有限公司","福建","面盆龙头","人水","DN15 600.01型","2010-01","合格",null,"福建省中心检验所"]
[134,"广东雄业卫浴实业有限公司","广东","单柄单控陶瓷片密封面盆 水嘴","HONGKEE+雄业卫浴","DN15 TP0021型","2010-03-15","合格",null,"福建省中心检验所"]
[135,"开平市东鹏卫浴实业有限公司","广东","单柄双控单孔水嘴","东鹏","DN15 PD1001","2010-03-15","合格",null,"福建省中心检验所"]
[136,"开平市澳斯曼洁具有限公司","广东","龙头","AOSMAN","DN15 AS-2502A","2010-03-10","合格",null,"福建省中心检验所"]
[137,"广东朝阳卫浴有限公司","广东","双孔冷热面盆龙头","朝阳","DN15 L250","2010-03-10","合格",null,"福建省中心检验所"]
[138,"开平市水口镇天龙水暖洁具制品厂","广东","陶瓷片密封水嘴","TILO","DN15 TL-0820006","2010-03-02","合格",null,"福建省中心检验所"]
[139,"开平市朝升卫浴有限公司","广东","朝升单把龙头","YOJO+图形商标","DN15 YJ03","2010-01","合格",null,"福建省中心检验所"]
[140,"开平市晨明卫浴有限公司","广东","陶瓷片密封水嘴","Lidi  恋迪","DN15 3001型","2010-03-01","合格",null,"福建省中心检验所"]
[141,"开平威尔格卫浴有限公司","广东","40芯单孔面盆陶瓷片密封 水嘴","Vjergou","DN15 114511型","2010-03-10","合格",null,"福建省中心检验所"]
[142,"江门吉事多卫浴有限公司","广东","陶瓷片密封水嘴","吉事多","DN15 GS-5145-C","批号:20091201","合格",null,"福建省中心检验所"]
[143,"江门吉事多卫浴有限公司","广东","陶瓷片密封水嘴","吉事多","DN15 GT-3720-11-HT","批号:20091210","合格",null,"福建省中心检验所"]
[144,"美标（江门）水暖器材有限公司","广东","陶瓷片密封水嘴","American Standard","DN15 3701.101.50","2010-03-16","合格",null,"福建省中心检验所"]
[145,"美标（江门）水暖器材有限公司","广东","陶瓷片密封水嘴","American Standard","DN15 CF-1501.101.50","2010-03-12","合格",null,"福建省中心检验所"]
[146,"乔登卫浴（江门）有限公司","广东","陶瓷片密封水嘴","JODEN","DN15 1008M08BC","2009-11-22","合格",null,"福建省中心检验所"]
[147,"广东华艺卫浴实业有限公司","广东","陶瓷片密封水嘴","华艺","DN15 CD16A93C","2010-03-12","合格",null,"福建省中心检验所"]
[148,"广东华艺卫浴实业有限公司","广东","陶瓷片密封水嘴","华艺","DN15 ND16J68C","2010-03-10","合格",null,"福建省中心检验所"]
[149,"鹤山市苹果卫浴实业有限公司","广东","陶瓷片密封水嘴","苹果（Ping Guo）","DN15 61001","2010-03-04","合格",null,"福建省中心检验所"]
[150,"佛山市顺德区美洁卫浴实业有限公司","广东","陶瓷片密封水嘴","欧莎","DN15 1001EA","2009-02-25","合格",null,"福建省中心检验所"]
[151,"佛山市禅城区中冠浴室设备厂","广东","陶瓷片密封水嘴","CRW（英皇）","DN15 HS-1014","批号:20100304","合格",null,"福建省中心检验所"]
[152,"广州摩恩水暖器材有限公司","广东","陶瓷片密封水嘴","摩恩","DN15 4817","批号:20100326","合格",null,"福建省中心检验所"]
[153,"广州摩恩水暖器材有限公司","广东","陶瓷片密封水嘴","摩恩","DN15 17121","批号:20100325","合格",null,"福建省中心检验所"]
[154,"佛山市恒洁陶瓷有限公司","广东","陶瓷片密封水嘴","恒洁卫浴","DN15 HL-2600-4","2009-06-02","合格",null,"福建省中心检验所"]
[155,"佛山市家家卫浴有限公司","广东","陶瓷片密封水嘴","浪鲸","DN15 FT0140","2010-01-14","合格",null,"福建省中心检验所"]
[156,"佛山市高明安华陶瓷洁具有限公司","广东","陶瓷片密封水嘴","安华卫浴","DN15 1A0606TC","2010-01-22","合格",null,"福建省中心检验所"]
[157,"佛山市高明安华陶瓷洁具有限公司","广东","陶瓷片密封水嘴","安华洁具","DN15 5C5858C","2009-12-14","合格",null,"福建省中心检验所"]
[158,"佛山市法恩洁具有限公司","广东","陶瓷片密封水嘴","法恩莎","DN15 F85679C","2010-03-19","合格",null,"福建省中心检验所"]
[159,"佛山市法恩洁具有限公司","广东","陶瓷片密封水嘴","法恩莎","DN15 F4A3030C","2010-01-13","合格",null,"福建省中心检验所"]
[160,"佛山钻石洁具陶瓷有限公司","广东","陶瓷片密封水嘴","钻石","DN15 JE-0860","2010-01-01","合格",null,"福建省中心检验所"]
[161,"佛山东鹏洁具股份有限公司","广东","陶瓷片密封水嘴","东鹏","DN15  JSH1830X","2009-04-25","合格",null,"福建省中心检验所"]
[162,"佛山东鹏洁具股份有限公司","广东","陶瓷片密封水嘴","东鹏","DN15 JSH1524D","2010-03-17","合格",null,"福建省中心检验所"]
[163,"新乐卫浴（佛山）有限公司","广东","陶瓷片密封水嘴","鹰卫浴","DN15 EF-187011","2009-12-04","合格",null,"福建省中心检验所"]
[164,"新乐卫浴（佛山）有限公司","广东","陶瓷片密封水嘴","鹰卫浴","DN15 EF-411011","批号:091212","合格",null,"福建省中心检验所"]
[165,"开平市迪丽奇卫浴实业有限公司","广东","单柄双控淋浴龙头","迪丽奇","DN15 82L01","2010-03-25","合格",null,"福建省中心检验所"]
[166,"开平市水口镇大亨水暖厂","广东","洗嘴","羅林","DN15 B01A","2010-02-01","合格",null,"福建省中心检验所"]
[167,"广东粤轻卫浴科技有限公司","广东","单柄双控面盆水嘴","洁丽美","DN15 FP1800","2010-03","合格",null,"福建省中心检验所"]
[168,"开平市国陶卫浴五金制品有限公司","广东","龙头","高图","DN15 GDL-01B","/","合格",null,"福建省中心检验所"]
[169,"广东希恩卫浴实业有限公司","广东","单柄面盆龙头","希恩","DN15 S371565C","2010-02-02","合格",null,"福建省中心检验所"]
[170,"开平市上华卫浴实业有限公司","广东","单柄双控面盆龙头","AoLi","DN15 ZX-5166C","2010-03-15","合格",null,"福建省中心检验所"]
[171,"高邑县亚达水暖器材厂","河北","陶瓷片密封水嘴","/","15","2009-09-20","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[172,"石家庄市三魚水暖器材厂","河北","冷水咀","三魚","Lp-L15 20H","2010-01-18","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[173,"石家庄鼎康卫浴洁具有限公司","河北","陶瓷芯水龙头","旭日","15","2009-05-10","不合格","管螺纹精度、酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[174,"高邑县花园亚华水咀厂","河北","陶瓷片系列水龍頭","广字","Lp-15","2010-04-10","不合格","管螺纹精度、酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[175,"高邑县恒宇五金厂","河北","恒宇系列水龍頭","/","DN15","2010-04-01","不合格","管螺纹精度、酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[176,"上海宏延卫浴设备开发实业有限公司","上海","单把面盆龙头","Cascade","06101","2010-04-13","不合格","管螺纹精度","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[177,"台州雅迪水暖器材有限公司","浙江","单把浴缸龙头","雅迪","YD6203","2009-10-06","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[178,"台州欣涯洁具有限公司","浙江","厨房龙头 ","欣涯","F402","2010-03-24","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[179,"台州苏尔达水暖有限公司","浙江","苏尔达水龙头","苏尔达","SD92603","2010-02-15","不合格","流量（带附件）","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[180,"瑞安市塘下鑫来达洁具厂","浙江","单把面盆龙头","鑫来达",1251,"2010-03-20","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[181,"温州市龙湾海城金盛卫浴洁具厂","浙江","陶瓷片密封水嘴","阿尔贝乐","6250-4","2010-03-31","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[182,"温州市景岗洁具有限公司","浙江","快开小龙头","景岗","JG-001C","2010-04-03","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[183,"温州市超华洁具有限公司","浙江","厨房龙头 ","安德生","C05-1-002","2010-03-30","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[184,"温州市龙湾海城莎仕顿洁具厂","浙江","淋浴龙头","/","S102","2010-03-25","不合格","冷热疲劳试验、酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[185,"温州市志诚水暖器材有限公司","浙江","单把双孔脸盆龙头","科耐","K7703-038C","2009-09-01","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[186,"瑞安市贵族水暖洁具厂","浙江","单孔厨房龙头","Guizu","3007","2010-03-31","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[187,"瑞安市名都洁具有限公司","浙江","单把二联淋浴龙头","mingdu","MD-1706","2010-04-02","不合格","冷热疲劳试验、酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[188,"瑞安市塘下炫风雨洁具厂","浙江","陶瓷片密封水嘴","炫风雨","509","/","不合格","流量（不带附件）、酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[189,"瑞安市艺典洁具有限公司","浙江","陶瓷片密封水嘴","艺典","020-13","2010-04-03","不合格","流量（不带附件）、冷热水标志","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[190,"浙江小白杨工贸发展有限公司","浙江","立式厨房水嘴","小白杨","C301-1","2010-03-11","不合格","酸性盐雾试验","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[191,"浙江雅鼎卫浴股份有限公司","浙江","入墙单把淋浴龙头","雅鼎","8002010","2009-06-04","不合格","管螺纹精度","国家建筑材料工业建筑五金水暖产品质量监督检验测试中心"]
[192,"安溪县沪汀水暖器材厂","福建","陶瓷阀芯水龙头","沪汀                ","DN15                                                        ","2010-03                                                     ","不合格","管螺纹精度、酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[193,"福建省南安市大宇永盛水暖厂                        ","福建","陶瓷片密封水嘴                                                                  ","飞宇                ","FY-8307                                                     ","2010-03-24","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[194,"南安市亚伟特卫浴洁具有限公司                      ","福建","精铜铸造陶瓷水龙头","思远                ","9567                                                        ","2010-03-26","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[195,"南安市仑苍双燕洁具厂                              ","福建","陶瓷片密封水嘴                                                                  ","双燕                ","/                                                           ","2010-03-24","不合格","管螺纹精度","国家排灌及节水设备产品质量监督检验中心"]
[196,"南安市仑苍铂盛水暖洁具厂                          ","福建","陶瓷芯快开龙头","金翅鸟              ","/                                                           ","2010-03-01","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[197,"南安市圣达卫浴洁具有限公司         ","福建","陶瓷片密封水嘴                                                                  ","SODOVO 圣达威卫浴   ","SDW-8011                                                    ","2010-03                                                   ","不合格","管螺纹精度、酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[198,"南安市溪美晋宝水暖洁具厂          ","福建","陶瓷片密封水嘴                                                                  ","GUANG DE            ","/                                                           ","2009-12                                                  ","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[199,"南安市惠尔达卫浴洁具有限公司    ","福建","陶瓷片密封水嘴                                                                  ","EHY 惠尔雅          ","/                                                           ","2010-03                                                   ","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[200,"福建省安溪县城厢广泉水暖洁具厂","福建","陶瓷芯水龙头","广泉                ","中长龙头                                                    ","2010-03                                                     ","不合格","冷热疲劳试验、酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[201,"南安市双珠水暖洁具阀门有限公司  ","福建","快开水咀","Weiba 卫霸          ","DN15                                                        ","2010-03-26","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[202,"泉州苹果王卫浴有限公司                         ","福建","方雅淋浴向上","苹果王 APPLE KING   ","513-38                                                      ","2010-03-15","不合格","冷热疲劳试验","国家排灌及节水设备产品质量监督检验中心"]
[203,"上海龙尔卫浴洁具有限公司泉州分公司","福建","单把脸盆混合水龙头","LONGER              ","LE-9121                                                     ","2010-01-18","不合格","冷热疲劳试验","国家排灌及节水设备产品质量监督检验中心"]
[204,"南安市美林金太阳卫浴洁具厂                   ","福建","陶瓷片密封水嘴                                                                  ","JINYUEYANG          ","813                                                         ","2010-03-27","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[205,"南安市彩都卫浴洁具厂                          ","福建","快开水龙头","彩都                ","DN15                                                        ","2010-03-15","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[206,"南安市翔龙卫浴洁具厂                          ","福建","陶瓷片密封水嘴                                                                  ","凤达                ","/                                                           ","2010-03-27","不合格","管螺纹精度、酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[207,"南安市欧柏龙卫浴洁具有限公司                       ","福建","陶瓷片密封水嘴                                                                  ","欧柏龙 OUBOLONG     ","6210                                                        ","2010-03-26","不合格","酸性盐雾试验","国家排灌及节水设备产品质量监督检验中心"]
[208,"温思特（福州）厨卫设备有限公司","福建","陶瓷片密封水嘴","墨林","DN15 FA-011","2010-03-05","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[209,"优达（中国）有限公司","福建","单把单孔脸盆龙头","HCG","DN15  FA1016型","2010-03-22","不合格","流量(带附件)          ","福建省中心检验所"]
[210,"优达（中国）有限公司","福建","挂墙式浴缸花洒龙头","HCG","DN15 FB3024型","2010-03-22","不合格","流量(不带附件)、酸性盐雾试验","福建省中心检验所"]
[211,"厦门人水卫浴有限公司","福建","厨房龙头","人水","DN15 601.75型","2010-01","不合格","冷热水标志、酸性盐雾试验","福建省中心检验所"]
[212,"开平市尼可卫浴有限公司","广东","陶瓷片密封水嘴","尼可(未注册)","DN15 4804","2010-01-08","不合格","管螺纹精度、冷热水标志","福建省中心检验所"]
[213,"广东彩洲卫浴实业有限公司","广东","陶瓷片密封水嘴","彩洲","DN15 S601-D11","2010-03-03","不合格","管螺纹精度","福建省中心检验所"]
[214,"鹤山市苹果卫浴实业有限公司","广东","陶瓷片密封水嘴","苹果（PingGuo）","DN15 P63","2009-11-05","不合格","管螺纹精度","福建省中心检验所"]
[215,"深圳成霖洁具股份有限公司","广东","陶瓷片密封水嘴","高宝","DN15 GB-9753SC","批号:J.11.02","不合格","管螺纹精度、冷热水标志","福建省中心检验所"]
[216,"佛山市顺德区乐华陶瓷洁具有限公司","广东","陶瓷片密封水嘴","ARROW","DN15 A81121C","2010-03-20","不合格","流量(不带附件)","福建省中心检验所"]
[217,"佛山市禅城区中冠浴室设备厂","广东","陶瓷片密封水嘴","ivi","DN15 S-1050","2010-03-01","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[218,"佛山市恒洁陶瓷有限公司","广东","陶瓷片密封水嘴","恒洁卫浴","DN15 HL-3115","2009-11-21","不合格","管螺纹精度   ","福建省中心检验所"]
[219,"佛山伯朗滋洁具有限公司","广东","陶瓷片密封水嘴","OXO","DN15 F7231","批号:201003","不合格","酸性盐雾试验","福建省中心检验所"]
[220,"佛山伯朗滋洁具有限公司","广东","陶瓷片密封水嘴","OXO","DN15 F7053","批号:201002","不合格","酸性盐雾试验","福建省中心检验所"]
[221,"佛山市南海益高卫浴有限公司","广东","陶瓷片密封水嘴","益高","DN15 PL049B-66E","2010-01-15","不合格","管螺纹精度","福建省中心检验所"]
[222,"佛山市南海益高卫浴有限公司","广东","陶瓷片密封水嘴","益高","DN15 PL146B-66E","2010-03-11","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[223,"佛山市家家卫浴有限公司","广东","陶瓷片密封水嘴","浪鲸","DN15 FT0129","2010-03-03","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[224,"佛山钻石洁具陶瓷有限公司","广东","陶瓷片密封水嘴","钻石","DN15 ME1-0041","2010-03-03","不合格","酸性盐雾试验","福建省中心检验所"]
[225,"江门市金凯登装饰材料实业有限公司","广东","陶瓷片密封水嘴","金凯登","DN15 JT065230","批号:20090508","不合格","管螺纹精度","福建省中心检验所"]
[226,"江门市金凯登装饰材料实业有限公司","广东","陶瓷片密封水嘴","金凯登","DN15 JT005100","批号:20090508","不合格","管螺纹精度","福建省中心检验所"]
[227,"乔登卫浴（江门）有限公司","广东","陶瓷片密封水嘴","JODEN","DN15  1007R07GC","2010-01-21","不合格","酸性盐雾试验","福建省中心检验所"]
[228,"鹤山市康立源卫浴实业有限公司","广东","陶瓷片密封水嘴","康立源","DN15 KLY-10130","2010-03-06","不合格","管螺纹精度","福建省中心检验所"]
[229,"鹤山市洁丽实业有限公司","广东","陶瓷片密封水嘴","洁丽","DN15 1724000C","2010-03-16","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[230,"鹤山市洁丽实业有限公司","广东","陶瓷片密封水嘴","洁丽","DN15 2014000C","2010-03-16","不合格","管螺纹精度","福建省中心检验所"]
[231,"佛山市顺德区乐华陶瓷洁具有限公司","广东","陶瓷片密封水嘴","ARROW","DN15 A81198C","2010-03-07","不合格","流量(不带附件)","福建省中心检验所"]
[232,"鹤山市贝斯尔卫浴实业有限公司","广东","陶瓷片密封水嘴","贝斯尔","DN15 72-27809","2010-03-13","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[233,"开平市水口镇顺博卫浴厂","广东","面盆龙头","祥泉","DN15 02211","2010-03-05","不合格","管螺纹精度","福建省中心检验所"]
[234,"开平市应达卫浴有限公司","广东","陶瓷片密封水嘴","YINGDA+图形商标","DN15 H14-Q02","2010-03-10","不合格","流量(带附件)、酸性盐雾试验","福建省中心检验所"]
[235,"开平市水口镇中原水暖铸造厂","广东","厨房水龙头","HUIDA 惠达","DN15 HDA112XH","2010-03-18","不合格","管螺纹精度、冷热水标志、酸性盐雾试验","福建省中心检验所"]
[236,"开平市永真卫浴实业有限公司","广东","陶瓷片密封水嘴","永真+图形商标","DN15  605型","2010-03-10","不合格","酸性盐雾试验","福建省中心检验所"]
[237,"开平市木美卫浴实业有限公司","广东","单柄单控陶瓷片密封水嘴","木美","DN15 DDP15","2010-03-15","不合格","管螺纹精度","福建省中心检验所"]
[238,"开平市水口镇雅致水暖器材厂","广东","陶瓷片密封水嘴","NYAZHI","DN15 3111型","2010-03-17","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[239,"开平市名浪卫浴洁具有限公司","广东","陶瓷片密封水嘴","MALOG","DN15  N2003","2010-03-10","不合格","酸性盐雾试验","福建省中心检验所"]
[240,"开平市伊丹卫浴实业有限公司","广东","单柄双控面盆水嘴","伊丹","DN15 DSM-15    ","2010-03-17","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[241,"开平市格雅卫浴有限公司","广东","陶瓷片密封水嘴","GFxy+图形商标","DN15 88011型","2010-03-05","不合格","酸性盐雾试验","福建省中心检验所"]
[242,"开平市迪丽奇卫浴实业有限公司","广东","单柄双控菜盆龙头","迪丽奇","DN15 20X06","2010-03-25","不合格","冷热水标志","福建省中心检验所"]
[243,"开平市水口镇华力水暖器材厂","广东","摇摆龙头","HUALI+图形商标","DN15 8225型","2010-03-24","不合格","酸性盐雾试验","福建省中心检验所"]
[244,"开平凯信卫浴有限公司","广东","陶瓷片密封水嘴","信立宝","DN15  XL-511型","2010-03-23","不合格","酸性盐雾试验","福建省中心检验所"]
[245,"开平市高宝五金卫浴实业有限公司","广东","陶瓷芯水龙头","洁耐雅+图形商标","DN15 104-T-8201","2010-03-23","不合格","流量(带附件)        ","福建省中心检验所"]
[246,"开平达威尔厨卫有限公司","广东","（水龙头）单柄双控洗涤 水嘴","达威尔","DN15 M-108型","2010-03-22","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[247,"广东彩洲卫浴实业有限公司","广东","陶瓷片密封水嘴","彩洲","DN15 3305-D64","2010-03-03","不合格","酸性盐雾试验","福建省中心检验所"]
[248,"广东朝阳卫浴有限公司","广东","单孔冷热面盆龙头","朝阳","DN15 L150","2010-03-10","不合格","酸性盐雾试验","福建省中心检验所"]
[249,"开平市洁士卫浴实业有限公司","广东","单把龙头","洁士","DN15 7520型","2010-03-15","不合格","管螺纹精度、酸性盐雾试验","福建省中心检验所"]
[250,"开平金牌洁具有限公司","广东","龙头","GOLD","DN15 RF1206","2010-03-15","不合格","酸性盐雾试验","福建省中心检验所"]
[251,"开平东升卫浴实业有限公司","广东","陶瓷片密封水嘴","翠城","DN15 2760型  ","2010-03-08","不合格","酸性盐雾试验","福建省中心检验所"]
[252,"开平建发卫浴实业有限公司","广东","陶瓷片密封水嘴","QENAIS  奇耐思","DN15 8338型    ","2010-03-15","不合格","酸性盐雾试验","福建省中心检验所"]
[253,"开平市恒美卫浴实业有限公司","广东","陶瓷片密封水嘴","恒美","DN15 HM620F    ","2010-03-11","不合格","酸性盐雾试验","福建省中心检验所"]